Исходные данные

Контроллер для автоматизации Wiren Board 8 Артикул: WB8-2G-16G-IND

Память и исполнение: 2 Гбайт RAM, 16 Гбайт eMMC.

configuration.yaml

homeassistant:

enabled: false

mqtt:

base_topic: zigbee2mqtt

server: mqtt://localhost

serial:

port: /dev/ttyMOD1

adapter: zstack

rtscts: false

advanced:

transmit_power: 20

last_seen: epoch

pan_id: 19273

network_key:

- 25

- 205

- 143

- 214

- 114

- 133

- 117

- 4

- 19

- 103

- 228

- 51

- 96

- 219

- 134

- 52

version: 4

devices:

'0xa4c1381c70eeff82':

friendly_name: XZ

'0xa4c13838d650f52f':

friendly_name: ZB_R1

'0xa4c138d06aa5b6cf':

friendly_name: ZB_R2

frontend:

enable: true

port: 8081

host: 0.0.0.0

systemctl status zigbee2mqtt

root@wirenboard-AMLPGUOV:~# systemctl status zigbee2mqtt

● zigbee2mqtt.service - zigbee2mqtt

Loaded: loaded (/lib/systemd/system/zigbee2mqtt.service; enabled; vendor preset: enabled)

Active: active (running) since Mon 11:30:13 MSK; 1h 10min ago

Main PID: 1721 (npm start)

Tasks: 23 (limit: 2070)

Memory: 104.4M

CPU: 13.400s

CGroup: /system.slice/zigbee2mqtt.service

├─1721 npm start

├─2524 sh -c node index.js

└─2541 node index.js

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m: Currently 3 devices are joined.

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m: Connecting to MQTT server at mqtt://>

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m: Connected to MQTT server

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqt>

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqt>

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqt>

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqt>

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m: Zigbee2MQTT started!

Apr 13 12:28:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:28:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqt>

Apr 13 12:38:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:38:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqt>

root@wirenboard-AMLPGUOV:~# systemctl status zigbee2mqtt

● zigbee2mqtt.service - zigbee2mqtt

Loaded: loaded (/lib/systemd/system/zigbee2mqtt.service; enabled; vendor preset: enabled)

Active: active (running) since Mon 11:30:13 MSK; 1h 10min ago

Main PID: 1721 (npm start)

Tasks: 23 (limit: 2070)

Memory: 104.4M

CPU: 13.406s

CGroup: /system.slice/zigbee2mqtt.service

├─1721 npm start

├─2524 sh -c node index.js

└─2541 node index.js

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m: Currently 3 devices are joined.

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m: Connecting to MQTT server at mqtt://localhost

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m: Connected to MQTT server

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/state', payload '{"state":"online"}'

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/XZ', payload '{"battery":100,"last_seen":1768586445933,"pir_sensitivity":"low","pir_time":"15s","presence":true}'

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/ZB_R1', payload '{"last_seen":1768974179906,"power_on_behavior":"previous","state":"OFF","switch_type":"toggle"}'

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/ZB_R2', payload '{"last_seen":1775226960583,"power_on_behavior":"previous","state":"ON","switch_type":"toggle"}'

Apr 13 12:18:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:18:35] info:         z2m: Zigbee2MQTT started!

Apr 13 12:28:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:28:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776072515879,"os":{"load_average":[0.45,0.54,0.37],"memory_used_mb":536.21,"memory_percent":27.01>

Apr 13 12:38:35 wirenboard-AMLPGUOV zigbee2mqtt[2541]: [12:38:35] info:         z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776073115877,"os":{"load_average":[0.69,0.57,0.45],"memory_used_mb":547.59,"memory_percent":27.58>

Подробно - посмотреть лог работы zigbee2mqtt

root@wirenboard-AMLPGUOV:~# journalctl -u zigbee2mqtt --no-pager -n 30

-- Journal begins at Thu 2026-04-02 15:56:16 MSK, ends at Mon 13:30:41 MSK. --

Apr 09 17:31:31 systemd[1]: zigbee2mqtt.service: Consumed 20.695s CPU time.

-- Boot 2f18a39ea44b4808a1267a3ccc2d6785 --

11:30:13 systemd[1]: Started zigbee2mqtt.

11:30:17 zigbee2mqtt[1721]: > zigbee2mqtt@2.7.1 start

11:30:17 zigbee2mqtt[1721]: > node index.js

11:30:20 zigbee2mqtt[2541]: Starting Zigbee2MQTT without watchdog.

12:18:30 zigbee2mqtt[2541]: [12:18:30] info: z2m: Logging to console, file (filename: log.log)

12:18:30 zigbee2mqtt[2541]: [12:18:30] info: z2m: Starting Zigbee2MQTT version 2.7.1 (commit #unknown)

12:18:30 zigbee2mqtt[2541]: [12:18:30] info: z2m: Starting zigbee-herdsman (7.0.4)

12:18:30 zigbee2mqtt[2541]: [12:18:30] info: zh:zstack:znp: Opening SerialPort with {"path":"/dev/ttyMOD1","baudRate":115200,"rtscts":false,"autoOpen":false}

12:18:30 zigbee2mqtt[2541]: [12:18:30] info: zh:zstack:znp: Serialport opened

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m: zigbee-herdsman started (resumed)

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m: Coordinator firmware version: '{"meta":{"maintrel":1,"majorrel":2,"minorrel":7,"product":1,"revision":20240710,"transportrev":2},"type":"ZStack3x0"}'

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m: XZ (0xa4c1381c70eeff82): TS0601_human_presence - iHseno Human presence sensor (EndDevice)

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m: ZB_R1 (0xa4c13838d650f52f): ZG-301Z - HOBEIAN Wall switch module (Router)

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m: ZB_R2 (0xa4c138d06aa5b6cf): ZG-301Z - HOBEIAN Wall switch module (Router)

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m: Currently 3 devices are joined.

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m: Conecting to MQTT server at mqtt://localhost

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m: Connected to MQTT server

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/state', payload '{"state":"online"}'

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/XZ', payload '{"battery":100,"last_seen":1768586445933,"pir_sensitivity":"low","pir_time":"15s","presence":true}'

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/ZB_R1', payload '{"last_seen":1768974179906,"power_on_behavior":"previous","state":"OFF","switch_type":"toggle"}'

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/ZB_R2', payload '{"last_seen":1775226960583,"power_on_behavior":"previous","state":"ON","switch_type":"toggle"}'

12:18:35 zigbee2mqtt[2541]: [12:18:35] info: z2m: Zigbee2MQTT started!

12:28:35 zigbee2mqtt[2541]: [12:28:35] info: z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776072515879,"os":{"load_average":[0.45,0.54,0.37],"memory_used_mb":536.21,"memory_percent":27.0141},"process":{"uptime_sec":617,"memory_used_mb":109.42,"memory_percent":5.5124},"mqtt":{"connected":true,"queued":0,"published":14,"received":0},"devices":{}}'

12:38:35 zigbee2mqtt[2541]: [12:38:35] info: z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776073115877,"os":{"load_average":[0.69,0.57,0.45],"memory_used_mb":547.59,"memory_percent":27.587},"process":{"uptime_sec":1217,"memory_used_mb":109.67,"memory_percent":5.525},"mqtt":{"connected":true,"queued":0,"published":16,"received":0},"devices":{}}'

12:48:35 zigbee2mqtt[2541]: [12:48:35] info: z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776073715879,"os":{"load_average":[0.42,0.6,0.55],"memory_used_mb":549.51,"memory_percent":27.6838},"process":{"uptime_sec":1817,"memory_used_mb":109.79,"memory_percent":5.5313},"mqtt":{"connected":true,"queued":0,"published":18,"received":0},"devices":{}}'

12:58:35 zigbee2mqtt[2541]: [12:58:35] info: z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776074315880,"os":{"load_average":[0.46,0.67,0.68],"memory_used_mb":545.65,"memory_percent":27.4896},"process":{"uptime_sec":2417,"memory_used_mb":110.04,"memory_percent":5.5439},"mqtt":{"connected":true,"queued":0,"published":20,"received":0},"devices":{}}'

13:08:35 zigbee2mqtt[2541]: [13:08:35] info: z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776074915881,"os":{"load_average":[0.82,0.66,0.66],"memory_used_mb":548.5,"memory_percent":27.6333},"process":{"uptime_sec":3017,"memory_used_mb":110.42,"memory_percent":5.5628},"mqtt":{"connected":true,"queued":0,"published":22,"received":0},"devices":{}}'

13:18:35 zigbee2mqtt[2541]: [13:18:35] info: z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776075515883,"os":{"load_average":[0.48,0.61,0.63],"memory_used_mb":554.96,"memory_percent":27.9586},"process":{"uptime_sec":3617,"memory_used_mb":110.67,"memory_percent":5.5754},"mqtt":{"connected":true,"queued":0,"published":24,"received":0},"devices":{}}'

13:28:35 zigbee2mqtt[2541]: [13:28:35] info: z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776076115883,"os":{"load_average":[0.6,0.6,0.63],"memory_used_mb":553.2,"memory_percent":27.8696},"process":{"uptime_sec":4217,"memory_used_mb":110.67,"memory_percent":5.5754},"mqtt":{"connected":true,"queued":0,"published":26,"received":0},"devices":{}}'

root@wirenboard-AMLPGUOV:~#

log.log

[12:18:30] info: 	z2m: Logging to console, file (filename: log.log)

[12:18:30] info: 	z2m: Starting Zigbee2MQTT version 2.7.1 (commit #unknown)

[12:18:30] info: 	z2m: Starting zigbee-herdsman (7.0.4)

[12:18:30] info: 	zh:zstack:znp: Opening SerialPort with {"path":"/dev/ttyMOD1","baudRate":115200,"rtscts":false,"autoOpen":false}

[12:18:30] info: 	zh:zstack:znp: Serialport opened

[12:18:35] info: 	z2m: zigbee-herdsman started (resumed)

[12:18:35] info: 	z2m: Coordinator firmware version: '{"meta":{"maintrel":1,"majorrel":2,"minorrel":7,"product":1,"revision":20240710,"transportrev":2},"type":"ZStack3x0"}'

[12:18:35] info: 	z2m: XZ (0xa4c1381c70eeff82): TS0601_human_presence - iHseno Human presence sensor (EndDevice)

[12:18:35] info: 	z2m: ZB_R1 (0xa4c13838d650f52f): ZG-301Z - HOBEIAN Wall switch module (Router)

[12:18:35] info: 	z2m: ZB_R2 (0xa4c138d06aa5b6cf): ZG-301Z - HOBEIAN Wall switch module (Router)

[12:18:35] info: 	z2m: Currently 3 devices are joined.

[12:18:35] info: 	z2m: Connecting to MQTT server at mqtt://localhost

[12:18:35] info: 	z2m: Connected to MQTT server

[12:18:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/state', payload '{"state":"online"}'

[12:18:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/XZ', payload '{"battery":100,"last_seen":1768586445933,"pir_sensitivity":"low","pir_time":"15s","presence":true}'

[12:18:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/ZB_R1', payload '{"last_seen":1768974179906,"power_on_behavior":"previous","state":"OFF","switch_type":"toggle"}'

[12:18:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/ZB_R2', payload '{"last_seen":1775226960583,"power_on_behavior":"previous","state":"ON","switch_type":"toggle"}'

[12:18:35] info: 	z2m: Zigbee2MQTT started!

[12:28:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776072515879,"os":{"load_average":[0.45,0.54,0.37],"memory_used_mb":536.21,"memory_percent":27.0141},"process":{"uptime_sec":617,"memory_used_mb":109.42,"memory_percent":5.5124},"mqtt":{"connected":true,"queued":0,"published":14,"received":0},"devices":{}}'

[12:38:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776073115877,"os":{"load_average":[0.69,0.57,0.45],"memory_used_mb":547.59,"memory_percent":27.587},"process":{"uptime_sec":1217,"memory_used_mb":109.67,"memory_percent":5.525},"mqtt":{"connected":true,"queued":0,"published":16,"received":0},"devices":{}}'

[12:48:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776073715879,"os":{"load_average":[0.42,0.6,0.55],"memory_used_mb":549.51,"memory_percent":27.6838},"process":{"uptime_sec":1817,"memory_used_mb":109.79,"memory_percent":5.5313},"mqtt":{"connected":true,"queued":0,"published":18,"received":0},"devices":{}}'

[12:58:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776074315880,"os":{"load_average":[0.46,0.67,0.68],"memory_used_mb":545.65,"memory_percent":27.4896},"process":{"uptime_sec":2417,"memory_used_mb":110.04,"memory_percent":5.5439},"mqtt":{"connected":true,"queued":0,"published":20,"received":0},"devices":{}}'

[13:08:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776074915881,"os":{"load_average":[0.82,0.66,0.66],"memory_used_mb":548.5,"memory_percent":27.6333},"process":{"uptime_sec":3017,"memory_used_mb":110.42,"memory_percent":5.5628},"mqtt":{"connected":true,"queued":0,"published":22,"received":0},"devices":{}}'

[13:18:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776075515883,"os":{"load_average":[0.48,0.61,0.63],"memory_used_mb":554.96,"memory_percent":27.9586},"process":{"uptime_sec":3617,"memory_used_mb":110.67,"memory_percent":5.5754},"mqtt":{"connected":true,"queued":0,"published":24,"received":0},"devices":{}}'

[13:28:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776076115883,"os":{"load_average":[0.6,0.6,0.63],"memory_used_mb":553.2,"memory_percent":27.8696},"process":{"uptime_sec":4217,"memory_used_mb":110.67,"memory_percent":5.5754},"mqtt":{"connected":true,"queued":0,"published":26,"received":0},"devices":{}}'

[13:38:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776076715885,"os":{"load_average":[1.31,0.86,0.71],"memory_used_mb":553.43,"memory_percent":27.8816},"process":{"uptime_sec":4817,"memory_used_mb":110.67,"memory_percent":5.5754},"mqtt":{"connected":true,"queued":0,"published":28,"received":0},"devices":{}}'

[13:48:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776077315888,"os":{"load_average":[0.32,0.53,0.6],"memory_used_mb":550.41,"memory_percent":27.7293},"process":{"uptime_sec":5417,"memory_used_mb":110.67,"memory_percent":5.5754},"mqtt":{"connected":true,"queued":0,"published":30,"received":0},"devices":{}}'

[13:58:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776077915889,"os":{"load_average":[1.41,1,0.82],"memory_used_mb":549.3,"memory_percent":27.6732},"process":{"uptime_sec":6017,"memory_used_mb":110.79,"memory_percent":5.5817},"mqtt":{"connected":true,"queued":0,"published":32,"received":0},"devices":{}}'

[14:08:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776078515890,"os":{"load_average":[0.4,0.59,0.71],"memory_used_mb":550.57,"memory_percent":27.7374},"process":{"uptime_sec":6617,"memory_used_mb":110.79,"memory_percent":5.5817},"mqtt":{"connected":true,"queued":0,"published":34,"received":0},"devices":{}}'

[14:18:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776079115891,"os":{"load_average":[0.64,0.5,0.57],"memory_used_mb":552.88,"memory_percent":27.8537},"process":{"uptime_sec":7217,"memory_used_mb":110.79,"memory_percent":5.5817},"mqtt":{"connected":true,"queued":0,"published":36,"received":0},"devices":{}}'

[14:28:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776079715892,"os":{"load_average":[0.5,0.51,0.56],"memory_used_mb":556.59,"memory_percent":28.0408},"process":{"uptime_sec":7817,"memory_used_mb":110.92,"memory_percent":5.588},"mqtt":{"connected":true,"queued":0,"published":38,"received":0},"devices":{}}'

[14:38:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776080315893,"os":{"load_average":[0.33,0.48,0.53],"memory_used_mb":555.59,"memory_percent":27.9904},"process":{"uptime_sec":8417,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":40,"received":0},"devices":{}}'

[14:48:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776080915894,"os":{"load_average":[0.47,0.58,0.59],"memory_used_mb":556.37,"memory_percent":28.0296},"process":{"uptime_sec":9017,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":42,"received":0},"devices":{}}'

[14:58:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776081515897,"os":{"load_average":[0.7,0.6,0.58],"memory_used_mb":558.14,"memory_percent":28.1189},"process":{"uptime_sec":9617,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":44,"received":0},"devices":{}}'

[15:08:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776082115898,"os":{"load_average":[0.48,0.62,0.62],"memory_used_mb":557.37,"memory_percent":28.08},"process":{"uptime_sec":10217,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":46,"received":0},"devices":{}}'

[15:18:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776082715900,"os":{"load_average":[0.47,0.5,0.56],"memory_used_mb":563.18,"memory_percent":28.3728},"process":{"uptime_sec":10817,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":48,"received":0},"devices":{}}'

[15:28:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776083315902,"os":{"load_average":[0.54,0.61,0.6],"memory_used_mb":557.26,"memory_percent":28.0743},"process":{"uptime_sec":11417,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":50,"received":0},"devices":{}}'

[15:38:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776083915904,"os":{"load_average":[0.81,0.98,0.79],"memory_used_mb":557.35,"memory_percent":28.0788},"process":{"uptime_sec":12017,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":52,"received":0},"devices":{}}'

[15:48:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776084515906,"os":{"load_average":[0.4,0.64,0.75],"memory_used_mb":557.22,"memory_percent":28.0725},"process":{"uptime_sec":12617,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":54,"received":0},"devices":{}}'

[15:58:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776085115909,"os":{"load_average":[0.43,0.49,0.61],"memory_used_mb":558.59,"memory_percent":28.1416},"process":{"uptime_sec":13217,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":56,"received":0},"devices":{}}'

[16:08:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776085715911,"os":{"load_average":[0.65,0.69,0.67],"memory_used_mb":558.03,"memory_percent":28.113},"process":{"uptime_sec":13817,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":58,"received":0},"devices":{}}'

[16:18:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776086315912,"os":{"load_average":[0.44,0.56,0.61],"memory_used_mb":563.54,"memory_percent":28.3909},"process":{"uptime_sec":14417,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":60,"received":0},"devices":{}}'

[16:28:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776086915913,"os":{"load_average":[0.38,0.69,0.67],"memory_used_mb":561.74,"memory_percent":28.3002},"process":{"uptime_sec":15017,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":62,"received":0},"devices":{}}'

[16:38:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776087515914,"os":{"load_average":[0.7,0.57,0.61],"memory_used_mb":557.98,"memory_percent":28.1105},"process":{"uptime_sec":15617,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":64,"received":0},"devices":{}}'

[16:48:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776088115917,"os":{"load_average":[0.57,0.62,0.61],"memory_used_mb":562.59,"memory_percent":28.3429},"process":{"uptime_sec":16217,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":66,"received":0},"devices":{}}'

[16:58:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776088715917,"os":{"load_average":[0.33,0.45,0.53],"memory_used_mb":561.82,"memory_percent":28.3043},"process":{"uptime_sec":16817,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":68,"received":0},"devices":{}}'

[17:08:35] info: 	z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/health', payload '{"response_time":1776089315918,"os":{"load_average":[0.9,0.75,0.63],"memory_used_mb":564.61,"memory_percent":28.4444},"process":{"uptime_sec":17417,"memory_used_mb":111.04,"memory_percent":5.5943},"mqtt":{"connected":true,"queued":0,"published":70,"received":0},"devices":{}}'

npm start

root@wirenboard-AMLPGUOV:/mnt/data/root/zigbee2mqtt# npm start

> zigbee2mqtt@2.7.1 start

> node index.js

Starting Zigbee2MQTT without watchdog.

[2026-04-15 11:14:48] info:     z2m: Logging to console, file (filename: log.log)

[2026-04-15 11:14:48] info:     z2m: Starting Zigbee2MQTT version 2.7.1 (commit #unknown)

[2026-04-15 11:14:48] info:     z2m: Starting zigbee-herdsman (7.0.4)

[2026-04-15 11:14:49] info:     zh:zstack:znp: Opening SerialPort with {"path":"/dev/ttyMOD1","baudRate":115200,"rtscts":false,"autoOpen":false}

[2026-04-15 11:14:49] info:     zh:zstack:znp: Serialport opened

[2026-04-15 11:14:50] info:     z2m: zigbee-herdsman started (resumed)

[2026-04-15 11:14:50] info:     z2m: Coordinator firmware version: '{"meta":{"maintrel":1,"majorrel":2,"minorrel":7,"product":1,"revision":20240710,"transportrev":2},"type":"ZStack3x0"}'

[2026-04-15 11:14:50] info:     z2m: XZ (0xa4c1381c70eeff82): TS0601_human_presence - iHseno Human presence sensor (EndDevice)

[2026-04-15 11:14:50] info:     z2m: ZB_R1 (0xa4c13838d650f52f): ZG-301Z - HOBEIAN Wall switch module (Router)

[2026-04-15 11:14:50] info:     z2m: ZB_R2 (0xa4c138d06aa5b6cf): ZG-301Z - HOBEIAN Wall switch module (Router)

[2026-04-15 11:14:50] info:     z2m: Currently 3 devices are joined.

[2026-04-15 11:14:50] info:     z2m: Connecting to MQTT server at mqtt://localhost

[2026-04-15 11:14:50] info:     z2m: Connected to MQTT server

[2026-04-15 11:14:50] info:     z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/state', payload '{"state":"online"}'

[2026-04-15 11:14:50] info:     z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/XZ', payload '{"battery":100,"last_seen":1768586445933,"pir_sensitivity":"low","pir_time":"15s","presence":true}'

[2026-04-15 11:14:50] info:     z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/ZB_R1', payload '{"last_seen":1768974179906,"power_on_behavior":"previous","state":"OFF","switch_type":"toggle"}'

[2026-04-15 11:14:50] info:     z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/ZB_R2', payload '{"last_seen":1775226960583,"power_on_behavior":"previous","state":"ON","switch_type":"toggle"}'

[2026-04-15 11:14:50] info:     z2m: Zigbee2MQTT started!

^C[2026-04-15 11:15:20] info:   z2m:mqtt: MQTT publish: topic 'zigbee2mqtt/bridge/state', payload '{"state":"offline"}'

[2026-04-15 11:15:20] info:     z2m: Disconnecting from MQTT server

[2026-04-15 11:15:20] info:     z2m: Stopping zigbee-herdsman...

[2026-04-15 11:15:36] info:     zh:controller: Wrote coordinator backup to '/mnt/data/root/zigbee2mqtt/data/coordinator_backup.json'

[2026-04-15 11:15:36] info:     zh:zstack:znp: closing

[2026-04-15 11:15:36] info:     zh:zstack:znp: Port closed

[2026-04-15 11:15:36] info:     z2m: Stopped zigbee-herdsman

[2026-04-15 11:15:36] info:     z2m: Stopped Zigbee2MQTT