2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0/meta {"order":1,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 0"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0/meta/order 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 counter 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 counter/meta {"order":2,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 0"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 counter/meta/order 2
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 counter/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 counter/meta/type value
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1/meta {"order":3,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 1"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1/meta/order 3
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 counter 650
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 counter/meta {"order":4,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 1"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 counter/meta/order 4
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 counter/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 counter/meta/type value
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2/meta {"order":5,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 2"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2/meta/order 5
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 counter 104
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 counter/meta {"order":6,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 2"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 counter/meta/order 6
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 counter/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 counter/meta/type value
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter 35
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta {"order":7,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u043a\u043e\u0440\u043e\u0442\u043a\u0438\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/order 7
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/type value
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter 5
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta {"order":8,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u0434\u043b\u0438\u043d\u043d\u044b\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/order 8
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/type value
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter 32
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta {"order":9,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u0434\u0432\u043e\u0439\u043d\u044b\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/order 9
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/type value
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3/meta {"order":10,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 3"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3/meta/order 10
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 counter 85
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 counter/meta {"order":11,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 3"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 counter/meta/order 11
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 counter/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 counter/meta/type value
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4/meta {"order":12,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 4"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4/meta/order 12
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 counter 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 counter/meta {"order":13,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 4"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 counter/meta/order 13
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 counter/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 counter/meta/type value
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5/meta {"order":14,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 5"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5/meta/order 14
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 counter 4
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 counter/meta {"order":15,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 5"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 counter/meta/order 15
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 counter/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 counter/meta/type value
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6/meta {"order":16,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 6"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6/meta/order 16
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 counter 32
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 counter/meta {"order":17,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 6"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 counter/meta/order 17
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 counter/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 counter/meta/type value
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K1/meta {"order":18,"readonly":false,"title":{"en":"Command K1","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K1"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K1/meta/order 18
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K1/meta/readonly 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K1/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K2 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K2/meta {"order":19,"readonly":false,"title":{"en":"Command K2","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K2"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K2/meta/order 19
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K2/meta/readonly 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K2/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K3 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K3/meta {"order":20,"readonly":false,"title":{"en":"Command K3","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K3"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K3/meta/order 20
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K3/meta/readonly 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K3/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K4 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K4/meta {"order":21,"readonly":false,"title":{"en":"Command K4","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K4"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K4/meta/order 21
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K4/meta/readonly 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K4/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K5 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K5/meta {"order":22,"readonly":false,"title":{"en":"Command K5","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K5"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K5/meta/order 22
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K5/meta/readonly 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K5/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K6 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K6/meta {"order":23,"readonly":false,"title":{"en":"Command K6","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K6"},"type":"switch"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K6/meta/order 23
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K6/meta/readonly 0
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K6/meta/type switch
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Serial 4270491111
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Serial/meta {"order":24,"readonly":true,"title":{"ru":"\u0421\u0435\u0440\u0438\u0439\u043d\u044b\u0439 \u043d\u043e\u043c\u0435\u0440"},"type":"text"}
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Serial/meta/order 24
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Serial/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Serial/meta/type text
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature 26.23
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature/meta {"order":1,"readonly":true,"title":{"ru":"\u0422\u0435\u043c\u043f\u0435\u0440\u0430\u0442\u0443\u0440\u0430"},"type":"value","units":"deg C"}
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature/meta/order 1
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature/meta/type value
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity 44.91
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity/meta {"order":2,"readonly":true,"title":{"ru":"\u0412\u043b\u0430\u0436\u043d\u043e\u0441\u0442\u044c"},"type":"value","units":"%, RH"}
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity/meta/order 2
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity/meta/type value
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Max Motion 18
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Max Motion/meta {"order":3,"readonly":true,"title":{"ru":"\u041c\u0430\u043a\u0441\u0438\u043c\u0430\u043b\u044c\u043d\u043e\u0435 \u0434\u0432\u0438\u0436\u0435\u043d\u0438\u0435"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Max Motion/meta/order 3
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Max Motion/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Max Motion/meta/type value
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion/meta {"order":4,"readonly":true,"title":{"ru":"\u0422\u0435\u043a\u0443\u0449\u0435\u0435 \u0434\u0432\u0438\u0436\u0435\u043d\u0438\u0435"},"type":"value"}
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion/meta/order 4
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion/meta/type value
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Serial 404249
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Serial/meta {"order":5,"readonly":true,"title":{"ru":"\u0421\u0435\u0440\u0438\u0439\u043d\u044b\u0439 \u043d\u043e\u043c\u0435\u0440"},"type":"text"}
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Serial/meta/order 5
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Serial/meta/readonly 1
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Serial/meta/type text
2026-07-27 21:57:54 /devices/wb-gpio/controls/EXT1_IN4 0
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature 26.22
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity 44.85
2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 20
2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Max Motion 20
2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 19
2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 18
2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 17
2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Temperature 26.18
2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Temperature 26.19
2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 21:57:57 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 21:57:57 /devices/wb-msw-v4_1/controls/Humidity 44.86
2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Current Motion 17
2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Temperature 26.22
2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Humidity 44.88
2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Temperature 26.2
2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Humidity 44.86
2026-07-27 21:58:00 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 21:58:00 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 21:58:00 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 21:58:00 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 21:58:00 /devices/wb-msw-v4_1/controls/Temperature 26.19
2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Humidity 44.9
2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 43
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 43
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 75
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 75
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 112
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 112
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 157
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 157
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 202
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 240
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 240
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 274
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 274
2026-07-27 21:58:02 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 319
2026-07-27 21:58:02 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 319
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 321
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 317
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 321
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 304
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 296
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 293
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 283
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 280
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Temperature 26.22
2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 268
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 266
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 259
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 254
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 253
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 245
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 239
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 236
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 231
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 226
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 225
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 255
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 375
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Max Motion 375
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 548
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Max Motion 548
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 601
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Max Motion 601
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 617
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Max Motion 617
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 612
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Temperature 26.23
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Humidity 44.88
2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 604
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 588
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 583
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 562
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 558
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 554
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 540
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 535
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 532
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 524
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 518
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 504
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 503
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 662
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Max Motion 662
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 701
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 717
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Max Motion 717
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 715
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 699
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 688
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Temperature 26.21
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 668
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 650
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 637
2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 631
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 620
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 605
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 600
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 588
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 576
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 565
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 559
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 549
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 546
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 532
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 528
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 520
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 506
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 497
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 487
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 478
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 474
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 463
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 459
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 449
2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/Input 1 counter 651
2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 443
2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Temperature 26.19
2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Humidity 44.89
2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 434
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 428
2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 420
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 415
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 403
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 400
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 393
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 388
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 377
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 375
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 365
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 362
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 352
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 349
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 339
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 334
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 324
2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/Input 1 counter 652
2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 321
2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 311
2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Temperature 26.21
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Humidity 44.9
2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 301
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 299
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 289
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 286
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 276
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 274
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 260
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 257
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 249
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 246
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 238
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 236
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 227
2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/Input 1 counter 653
2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 218
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 216
2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 208
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Humidity 44.87
2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 206
2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 196
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 194
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 187
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 183
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 177
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 168
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 166
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 160
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 154
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 152
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 145
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 144
2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/Input 1 counter 654
2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 138
2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 131
2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 129
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Temperature 26.23
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Humidity 44.9
2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 126
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 119
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 118
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 115
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 109
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 105
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 104
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 100
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 95
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 92
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 90
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 86
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 83
2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Temperature 26.2
2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Humidity 44.93
2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 79
2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 78
2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 76
2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 73
2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 69
2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 66
2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 63
2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 61
2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/Input 1 counter 655
2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 57
2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 55
2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 52
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Temperature 26.21
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Humidity 44.9
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 50
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 48
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 47
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 45
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 43
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 41
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 39
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/Input 1 counter 656
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 38
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 36
2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Humidity 44.96
2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 35
2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 33
2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 32
2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 31
2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 30
2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 28
2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 27
2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 26
2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 25
2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 24
2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Humidity 44.95
2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 23
2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/Input 1 counter 657
2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 22
2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 21
2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 20
2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 19
2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Current Motion 18
2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/Input 1 counter 658
2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Current Motion 17
2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Temperature 26.22
2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Humidity 44.98
2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/Input 1 counter 659
2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Max Motion 605
2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Max Motion 511
2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Temperature 26.19
2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Humidity 45.01
2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/Input 1 counter 660
2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 21:58:16 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 21:58:16 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 21:58:16 /devices/wb-msw-v4_1/controls/Current Motion 17
2026-07-27 21:58:16 /devices/wb-msw-v4_1/controls/Max Motion 420
2026-07-27 21:58:16 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/Input 1 counter 661
2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1 0




Ещё одна попытка:
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0/meta {"order":1,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 0"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0/meta/order 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 counter 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 counter/meta {"order":2,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 0"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 counter/meta/order 2
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 counter/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 counter/meta/type value
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1/meta {"order":3,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 1"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1/meta/order 3
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 counter 666
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 counter/meta {"order":4,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 1"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 counter/meta/order 4
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 counter/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 counter/meta/type value
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2/meta {"order":5,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 2"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2/meta/order 5
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 counter 104
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 counter/meta {"order":6,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 2"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 counter/meta/order 6
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 counter/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 counter/meta/type value
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter 35
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta {"order":7,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u043a\u043e\u0440\u043e\u0442\u043a\u0438\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/order 7
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/type value
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter 5
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta {"order":8,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u0434\u043b\u0438\u043d\u043d\u044b\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/order 8
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/type value
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter 32
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta {"order":9,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u0434\u0432\u043e\u0439\u043d\u044b\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/order 9
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/type value
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3/meta {"order":10,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 3"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3/meta/order 10
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 counter 85
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 counter/meta {"order":11,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 3"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 counter/meta/order 11
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 counter/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 counter/meta/type value
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4/meta {"order":12,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 4"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4/meta/order 12
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 counter 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 counter/meta {"order":13,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 4"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 counter/meta/order 13
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 counter/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 counter/meta/type value
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5/meta {"order":14,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 5"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5/meta/order 14
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 counter 4
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 counter/meta {"order":15,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 5"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 counter/meta/order 15
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 counter/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 counter/meta/type value
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6/meta {"order":16,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 6"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6/meta/order 16
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 counter 32
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 counter/meta {"order":17,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 6"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 counter/meta/order 17
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 counter/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 counter/meta/type value
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K1/meta {"order":18,"readonly":false,"title":{"en":"Command K1","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K1"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K1/meta/order 18
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K1/meta/readonly 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K1/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K2 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K2/meta {"order":19,"readonly":false,"title":{"en":"Command K2","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K2"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K2/meta/order 19
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K2/meta/readonly 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K2/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K3 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K3/meta {"order":20,"readonly":false,"title":{"en":"Command K3","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K3"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K3/meta/order 20
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K3/meta/readonly 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K3/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K4 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K4/meta {"order":21,"readonly":false,"title":{"en":"Command K4","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K4"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K4/meta/order 21
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K4/meta/readonly 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K4/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K5 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K5/meta {"order":22,"readonly":false,"title":{"en":"Command K5","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K5"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K5/meta/order 22
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K5/meta/readonly 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K5/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K6 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K6/meta {"order":23,"readonly":false,"title":{"en":"Command K6","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K6"},"type":"switch"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K6/meta/order 23
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K6/meta/readonly 0
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K6/meta/type switch
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Serial 4270491111
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Serial/meta {"order":24,"readonly":true,"title":{"ru":"\u0421\u0435\u0440\u0438\u0439\u043d\u044b\u0439 \u043d\u043e\u043c\u0435\u0440"},"type":"text"}
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Serial/meta/order 24
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Serial/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Serial/meta/type text
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature 26.29
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature/meta {"order":1,"readonly":true,"title":{"ru":"\u0422\u0435\u043c\u043f\u0435\u0440\u0430\u0442\u0443\u0440\u0430"},"type":"value","units":"deg C"}
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature/meta/order 1
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature/meta/type value
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity 44.81
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity/meta {"order":2,"readonly":true,"title":{"ru":"\u0412\u043b\u0430\u0436\u043d\u043e\u0441\u0442\u044c"},"type":"value","units":"%, RH"}
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity/meta/order 2
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity/meta/type value
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Max Motion 18
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Max Motion/meta {"order":3,"readonly":true,"title":{"ru":"\u041c\u0430\u043a\u0441\u0438\u043c\u0430\u043b\u044c\u043d\u043e\u0435 \u0434\u0432\u0438\u0436\u0435\u043d\u0438\u0435"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Max Motion/meta/order 3
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Max Motion/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Max Motion/meta/type value
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion/meta {"order":4,"readonly":true,"title":{"ru":"\u0422\u0435\u043a\u0443\u0449\u0435\u0435 \u0434\u0432\u0438\u0436\u0435\u043d\u0438\u0435"},"type":"value"}
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion/meta/order 4
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion/meta/type value
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Serial 404249
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Serial/meta {"order":5,"readonly":true,"title":{"ru":"\u0421\u0435\u0440\u0438\u0439\u043d\u044b\u0439 \u043d\u043e\u043c\u0435\u0440"},"type":"text"}
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Serial/meta/order 5
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Serial/meta/readonly 1
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Serial/meta/type text
2026-07-27 22:32:20 /devices/wb-gpio/controls/EXT1_IN4 1
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature 26.27
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity 44.83
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:21 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:21 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:21 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:21 /devices/wb-msw-v4_1/controls/Humidity 44.81
2026-07-27 22:32:21 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Humidity 44.82
2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:23 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:23 /devices/wb-msw-v4_1/controls/Temperature 26.29
2026-07-27 22:32:23 /devices/wb-msw-v4_1/controls/Humidity 44.83
2026-07-27 22:32:23 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:24 /devices/wb-gpio/controls/EXT1_IN4 0	Comment by Николай: Открытие двери и правильное включение света
2026-07-27 22:32:24 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:24 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Temperature 26.25
2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Humidity 44.8
2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Max Motion 17
2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Max Motion 18
2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 18
2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 17
2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Temperature 26.27
2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Humidity 44.82
2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/Input 1 counter 667	Comment by Николай: Выключение света. Срабатывает счетчик нажатий и отключается правильно свет
2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Current Motion 18
2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Current Motion 17
2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Temperature 26.28
2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Humidity 44.79
2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/Input 1 counter 668
2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/K1/on 1	Comment by Николай: Свет включается
2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/K1/on 0	Comment by Николай: И сразу отключается. Непонятно кто дает эту команду
2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Temperature 26.27
2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Humidity 44.83
2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:28 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:28 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:28 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/Input 1 counter 669	Comment by Николай: Нажимаю на выключатель, чтоб включить свет
2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/K1/on 0	Comment by Николай: Он снова отключается
2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:28 /devices/wb-msw-v4_1/controls/Humidity 44.73
2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/Input 1 1
[bookmark: _GoBack]2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/Input 1 counter 670
2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Temperature 26.28
2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Humidity 44.65
2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 18
2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 17
2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Temperature 26.25
2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Humidity 44.56
2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/Input 1 counter 671
2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Temperature 26.26
2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Humidity 44.54
2026-07-27 22:32:32 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/Input 1 counter 672
2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:32 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:32 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:32 /devices/wb-msw-v4_1/controls/Humidity 44.47
2026-07-27 22:32:32 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/Input 1 counter 673
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Temperature 26.28
2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Humidity 44.49
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/Input 1 counter 674
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:34 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:34 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:34 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:34 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:34 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:34 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:34 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/Input 1 counter 675
2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Humidity 44.48
2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Temperature 26.26
2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:36 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/Input 1 counter 676
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:36 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:36 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:36 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/Input 1 counter 677
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:36 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:37 /devices/wb-msw-v4_1/controls/Temperature 26.25
2026-07-27 22:32:37 /devices/wb-msw-v4_1/controls/Humidity 44.5
2026-07-27 22:32:37 /devices/wb-msw-v4_1/controls/Current Motion 10
2026-07-27 22:32:37 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/Input 1 counter 678
2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:37 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Temperature 26.26
2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Humidity 44.52
2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Current Motion 10
2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/Input 1 counter 679
2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Temperature 26.27
2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/Input 1 counter 680
2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:40 /devices/wb-msw-v4_1/controls/Temperature 26.26
2026-07-27 22:32:40 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:40 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/Input 1 counter 681
2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:40 /devices/wb-msw-v4_1/controls/Humidity 44.55
2026-07-27 22:32:40 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Max Motion 16
2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/Input 1 counter 682
2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Temperature 26.27
2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Humidity 44.52
2026-07-27 22:32:42 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:42 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/Input 1 counter 683
2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:42 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:42 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Humidity 44.53
2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Current Motion 17
2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/Input 1 counter 684
2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/K1/on 1
2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Max Motion 17
2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/K1 1
2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Temperature 26.25
2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Humidity 44.55
2026-07-27 22:32:44 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/Input 1 1
2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/Input 1 counter 685
2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/K1/on 0
2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/K1 0
2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/Input 1 0
2026-07-27 22:32:44 /devices/wb-msw-v4_1/controls/Current Motion 13
2026-07-27 22:32:44 /devices/wb-msw-v4_1/controls/Current Motion 12
2026-07-27 22:32:44 /devices/wb-msw-v4_1/controls/Current Motion 11
2026-07-27 22:32:44 /devices/wb-msw-v4_1/controls/Current Motion 14
2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Humidity 44.56
2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Max Motion 19
2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 19
2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 18
2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 17
2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 16
2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 15
2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 17
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Humidity 44.57
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 27
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 34
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 34
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 43
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 43
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 45
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 47
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 47
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 45
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 44
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 60
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 69
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 69
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 87
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 87
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Humidity 44.58
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 92
2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 92
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 93
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 91
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Max Motion 93
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 88
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 85
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 81
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 79
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 78
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 76
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 74
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 73
2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 70
2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Temperature 26.27
2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Humidity 44.59
2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 68
2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 66
2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 63
2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 60
2026-07-27 22:32:48 /devices/wb-gpio/controls/EXT1_IN4 1
2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 58
2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 55
2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 53
2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 50
2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 48
2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 46
2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Temperature 26.25
2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 44
2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 43
2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 41
2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 40
2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 38
2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 36
2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 35
2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 33
2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Humidity 44.6
2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 32
2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 30
2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 29
2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 28
2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 27
2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 26
2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 25
