2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0/meta {"order":1,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 0"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0/meta/order 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 counter 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 counter/meta {"order":2,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 0"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 counter/meta/order 2

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 counter/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 0 counter/meta/type value

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1/meta {"order":3,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 1"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1/meta/order 3

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 counter 650

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 counter/meta {"order":4,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 1"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 counter/meta/order 4

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 counter/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 1 counter/meta/type value

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2/meta {"order":5,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 2"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2/meta/order 5

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 counter 104

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 counter/meta {"order":6,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 2"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 counter/meta/order 6

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 counter/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 counter/meta/type value

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter 35

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta {"order":7,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u043a\u043e\u0440\u043e\u0442\u043a\u0438\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/order 7

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/type value

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter 5

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta {"order":8,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u0434\u043b\u0438\u043d\u043d\u044b\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/order 8

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/type value

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter 32

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta {"order":9,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u0434\u0432\u043e\u0439\u043d\u044b\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/order 9

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/type value

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3/meta {"order":10,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 3"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3/meta/order 10

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 counter 85

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 counter/meta {"order":11,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 3"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 counter/meta/order 11

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 counter/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 3 counter/meta/type value

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4/meta {"order":12,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 4"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4/meta/order 12

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 counter 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 counter/meta {"order":13,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 4"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 counter/meta/order 13

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 counter/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 4 counter/meta/type value

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5/meta {"order":14,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 5"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5/meta/order 14

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 counter 4

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 counter/meta {"order":15,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 5"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 counter/meta/order 15

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 counter/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 5 counter/meta/type value

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6/meta {"order":16,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 6"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6/meta/order 16

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 counter 32

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 counter/meta {"order":17,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 6"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 counter/meta/order 17

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 counter/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Input 6 counter/meta/type value

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K1/meta {"order":18,"readonly":false,"title":{"en":"Command K1","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K1"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K1/meta/order 18

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K1/meta/readonly 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K1/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K2 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K2/meta {"order":19,"readonly":false,"title":{"en":"Command K2","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K2"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K2/meta/order 19

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K2/meta/readonly 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K2/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K3 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K3/meta {"order":20,"readonly":false,"title":{"en":"Command K3","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K3"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K3/meta/order 20

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K3/meta/readonly 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K3/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K4 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K4/meta {"order":21,"readonly":false,"title":{"en":"Command K4","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K4"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K4/meta/order 21

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K4/meta/readonly 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K4/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K5 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K5/meta {"order":22,"readonly":false,"title":{"en":"Command K5","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K5"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K5/meta/order 22

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K5/meta/readonly 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K5/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K6 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K6/meta {"order":23,"readonly":false,"title":{"en":"Command K6","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K6"},"type":"switch"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K6/meta/order 23

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K6/meta/readonly 0

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/K6/meta/type switch

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Serial 4270491111

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Serial/meta {"order":24,"readonly":true,"title":{"ru":"\u0421\u0435\u0440\u0438\u0439\u043d\u044b\u0439 \u043d\u043e\u043c\u0435\u0440"},"type":"text"}

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Serial/meta/order 24

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Serial/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-mr6c_118/controls/Serial/meta/type text

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature 26.23

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature/meta {"order":1,"readonly":true,"title":{"ru":"\u0422\u0435\u043c\u043f\u0435\u0440\u0430\u0442\u0443\u0440\u0430"},"type":"value","units":"deg C"}

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature/meta/order 1

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature/meta/type value

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity 44.91

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity/meta {"order":2,"readonly":true,"title":{"ru":"\u0412\u043b\u0430\u0436\u043d\u043e\u0441\u0442\u044c"},"type":"value","units":"%, RH"}

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity/meta/order 2

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity/meta/type value

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Max Motion 18

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Max Motion/meta {"order":3,"readonly":true,"title":{"ru":"\u041c\u0430\u043a\u0441\u0438\u043c\u0430\u043b\u044c\u043d\u043e\u0435 \u0434\u0432\u0438\u0436\u0435\u043d\u0438\u0435"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Max Motion/meta/order 3

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Max Motion/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Max Motion/meta/type value

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion/meta {"order":4,"readonly":true,"title":{"ru":"\u0422\u0435\u043a\u0443\u0449\u0435\u0435 \u0434\u0432\u0438\u0436\u0435\u043d\u0438\u0435"},"type":"value"}

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion/meta/order 4

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion/meta/type value

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Serial 404249

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Serial/meta {"order":5,"readonly":true,"title":{"ru":"\u0421\u0435\u0440\u0438\u0439\u043d\u044b\u0439 \u043d\u043e\u043c\u0435\u0440"},"type":"text"}

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Serial/meta/order 5

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Serial/meta/readonly 1

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Serial/meta/type text

2026-07-27 21:57:54 /devices/wb-gpio/controls/EXT1_IN4 0

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Temperature 26.22

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Humidity 44.85

2026-07-27 21:57:54 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 20

2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Max Motion 20

2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 19

2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 18

2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 17

2026-07-27 21:57:55 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Temperature 26.18

2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Temperature 26.19

2026-07-27 21:57:56 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 21:57:57 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 21:57:57 /devices/wb-msw-v4_1/controls/Humidity 44.86

2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Current Motion 17

2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Temperature 26.22

2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Humidity 44.88

2026-07-27 21:57:58 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Temperature 26.2

2026-07-27 21:57:59 /devices/wb-msw-v4_1/controls/Humidity 44.86

2026-07-27 21:58:00 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 21:58:00 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 21:58:00 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 21:58:00 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 21:58:00 /devices/wb-msw-v4_1/controls/Temperature 26.19

2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Humidity 44.9

2026-07-27 21:58:01 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 43

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 43

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 75

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 75

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 112

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 112

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 157

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 157

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 202

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 240

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 240

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 274

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 274

2026-07-27 21:58:02 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 319

2026-07-27 21:58:02 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 319

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 321

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 317

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Max Motion 321

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 304

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 296

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 293

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 283

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 280

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Temperature 26.22

2026-07-27 21:58:02 /devices/wb-msw-v4_1/controls/Current Motion 268

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 266

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 259

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 254

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 253

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 245

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 239

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 236

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 231

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 226

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 225

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 255

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 375

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Max Motion 375

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 548

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Max Motion 548

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 601

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Max Motion 601

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 617

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Max Motion 617

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 612

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Temperature 26.23

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Humidity 44.88

2026-07-27 21:58:03 /devices/wb-msw-v4_1/controls/Current Motion 604

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 588

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 583

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 562

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 558

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 554

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 540

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 535

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 532

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 524

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 518

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 504

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 503

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 662

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Max Motion 662

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 701

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 717

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Max Motion 717

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 715

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 699

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 688

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Temperature 26.21

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 668

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 650

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 637

2026-07-27 21:58:04 /devices/wb-msw-v4_1/controls/Current Motion 631

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 620

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 605

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 600

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 588

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 576

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 565

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 559

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 549

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 546

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 532

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 528

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 520

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 506

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 497

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 487

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 478

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 474

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 463

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 459

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 449

2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/Input 1 counter 651

2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Current Motion 443

2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:05 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Temperature 26.19

2026-07-27 21:58:05 /devices/wb-msw-v4_1/controls/Humidity 44.89

2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 434

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 428

2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 420

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 415

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 403

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 400

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 393

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 388

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 377

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 375

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 365

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 362

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 352

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 349

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 339

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 334

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 324

2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/Input 1 counter 652

2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:06 /devices/wb-msw-v4_1/controls/Current Motion 321

2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 21:58:06 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 311

2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Temperature 26.21

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Humidity 44.9

2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 301

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 299

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 289

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 286

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 276

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 274

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 260

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 257

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 249

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 246

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 238

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 236

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 227

2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/Input 1 counter 653

2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 218

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 216

2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 208

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Humidity 44.87

2026-07-27 21:58:07 /devices/wb-msw-v4_1/controls/Current Motion 206

2026-07-27 21:58:07 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 196

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 194

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 187

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 183

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 177

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 168

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 166

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 160

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 154

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 152

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 145

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 144

2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/Input 1 counter 654

2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 138

2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 131

2026-07-27 21:58:08 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 129

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Temperature 26.23

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Humidity 44.9

2026-07-27 21:58:08 /devices/wb-msw-v4_1/controls/Current Motion 126

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 119

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 118

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 115

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 109

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 105

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 104

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 100

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 95

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 92

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 90

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 86

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Current Motion 83

2026-07-27 21:58:09 /devices/wb-msw-v4_1/controls/Temperature 26.2

2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Humidity 44.93

2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 79

2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 78

2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 76

2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 73

2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 69

2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 66

2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 63

2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 61

2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/Input 1 counter 655

2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 57

2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:10 /devices/wb-msw-v4_1/controls/Current Motion 55

2026-07-27 21:58:10 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 52

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Temperature 26.21

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Humidity 44.9

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 50

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 48

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 47

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 45

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 43

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 41

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 39

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/Input 1 counter 656

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 38

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:11 /devices/wb-msw-v4_1/controls/Current Motion 36

2026-07-27 21:58:11 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Humidity 44.96

2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 35

2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 33

2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 32

2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 31

2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 30

2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 28

2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 27

2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 26

2026-07-27 21:58:12 /devices/wb-msw-v4_1/controls/Current Motion 25

2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 24

2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Humidity 44.95

2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 23

2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/Input 1 counter 657

2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 22

2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 21

2026-07-27 21:58:13 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 20

2026-07-27 21:58:13 /devices/wb-msw-v4_1/controls/Current Motion 19

2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Current Motion 18

2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/Input 1 counter 658

2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Current Motion 17

2026-07-27 21:58:14 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Temperature 26.22

2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Humidity 44.98

2026-07-27 21:58:14 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/Input 1 counter 659

2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Max Motion 605

2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Max Motion 511

2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Temperature 26.19

2026-07-27 21:58:15 /devices/wb-msw-v4_1/controls/Humidity 45.01

2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/Input 1 counter 660

2026-07-27 21:58:15 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 21:58:16 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 21:58:16 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 21:58:16 /devices/wb-msw-v4_1/controls/Current Motion 17

2026-07-27 21:58:16 /devices/wb-msw-v4_1/controls/Max Motion 420

2026-07-27 21:58:16 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/Input 1 counter 661

2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 21:58:16 /devices/wb-mr6c_118/controls/K1 0

Ещё одна попытка:

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0/meta {"order":1,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 0"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0/meta/order 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 counter 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 counter/meta {"order":2,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 0"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 counter/meta/order 2

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 counter/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 0 counter/meta/type value

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1/meta {"order":3,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 1"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1/meta/order 3

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 counter 666

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 counter/meta {"order":4,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 1"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 counter/meta/order 4

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 counter/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 1 counter/meta/type value

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2/meta {"order":5,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 2"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2/meta/order 5

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 counter 104

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 counter/meta {"order":6,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 2"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 counter/meta/order 6

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 counter/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 counter/meta/type value

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter 35

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta {"order":7,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u043a\u043e\u0440\u043e\u0442\u043a\u0438\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/order 7

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Single Press Counter/meta/type value

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter 5

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta {"order":8,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u0434\u043b\u0438\u043d\u043d\u044b\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/order 8

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Long Press Counter/meta/type value

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter 32

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta {"order":9,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a \u0434\u0432\u043e\u0439\u043d\u044b\u0445 \u043d\u0430\u0436\u0430\u0442\u0438\u0439 \u0432\u0445\u043e\u0434\u0430 2"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/order 9

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 2 Double Press Counter/meta/type value

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3/meta {"order":10,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 3"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3/meta/order 10

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 counter 85

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 counter/meta {"order":11,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 3"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 counter/meta/order 11

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 counter/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 3 counter/meta/type value

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4/meta {"order":12,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 4"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4/meta/order 12

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 counter 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 counter/meta {"order":13,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 4"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 counter/meta/order 13

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 counter/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 4 counter/meta/type value

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5/meta {"order":14,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 5"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5/meta/order 14

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 counter 4

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 counter/meta {"order":15,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 5"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 counter/meta/order 15

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 counter/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 5 counter/meta/type value

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6/meta {"order":16,"readonly":true,"title":{"ru":"\u0412\u0445\u043e\u0434 6"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6/meta/order 16

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 counter 32

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 counter/meta {"order":17,"readonly":true,"title":{"ru":"\u0421\u0447\u0435\u0442\u0447\u0438\u043a 6"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 counter/meta/order 17

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 counter/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Input 6 counter/meta/type value

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K1/meta {"order":18,"readonly":false,"title":{"en":"Command K1","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K1"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K1/meta/order 18

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K1/meta/readonly 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K1/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K2 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K2/meta {"order":19,"readonly":false,"title":{"en":"Command K2","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K2"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K2/meta/order 19

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K2/meta/readonly 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K2/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K3 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K3/meta {"order":20,"readonly":false,"title":{"en":"Command K3","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K3"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K3/meta/order 20

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K3/meta/readonly 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K3/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K4 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K4/meta {"order":21,"readonly":false,"title":{"en":"Command K4","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K4"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K4/meta/order 21

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K4/meta/readonly 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K4/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K5 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K5/meta {"order":22,"readonly":false,"title":{"en":"Command K5","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K5"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K5/meta/order 22

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K5/meta/readonly 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K5/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K6 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K6/meta {"order":23,"readonly":false,"title":{"en":"Command K6","ru":"\u041a\u043e\u043c\u0430\u043d\u0434\u0430 K6"},"type":"switch"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K6/meta/order 23

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K6/meta/readonly 0

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/K6/meta/type switch

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Serial 4270491111

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Serial/meta {"order":24,"readonly":true,"title":{"ru":"\u0421\u0435\u0440\u0438\u0439\u043d\u044b\u0439 \u043d\u043e\u043c\u0435\u0440"},"type":"text"}

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Serial/meta/order 24

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Serial/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-mr6c_118/controls/Serial/meta/type text

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature 26.29

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature/meta {"order":1,"readonly":true,"title":{"ru":"\u0422\u0435\u043c\u043f\u0435\u0440\u0430\u0442\u0443\u0440\u0430"},"type":"value","units":"deg C"}

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature/meta/order 1

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature/meta/type value

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity 44.81

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity/meta {"order":2,"readonly":true,"title":{"ru":"\u0412\u043b\u0430\u0436\u043d\u043e\u0441\u0442\u044c"},"type":"value","units":"%, RH"}

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity/meta/order 2

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity/meta/type value

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Max Motion 18

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Max Motion/meta {"order":3,"readonly":true,"title":{"ru":"\u041c\u0430\u043a\u0441\u0438\u043c\u0430\u043b\u044c\u043d\u043e\u0435 \u0434\u0432\u0438\u0436\u0435\u043d\u0438\u0435"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Max Motion/meta/order 3

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Max Motion/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Max Motion/meta/type value

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion/meta {"order":4,"readonly":true,"title":{"ru":"\u0422\u0435\u043a\u0443\u0449\u0435\u0435 \u0434\u0432\u0438\u0436\u0435\u043d\u0438\u0435"},"type":"value"}

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion/meta/order 4

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion/meta/type value

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Serial 404249

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Serial/meta {"order":5,"readonly":true,"title":{"ru":"\u0421\u0435\u0440\u0438\u0439\u043d\u044b\u0439 \u043d\u043e\u043c\u0435\u0440"},"type":"text"}

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Serial/meta/order 5

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Serial/meta/readonly 1

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Serial/meta/type text

2026-07-27 22:32:20 /devices/wb-gpio/controls/EXT1_IN4 1

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Temperature 26.27

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Humidity 44.83

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:20 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:21 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:21 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:21 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:21 /devices/wb-msw-v4_1/controls/Humidity 44.81

2026-07-27 22:32:21 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Humidity 44.82

2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:22 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:23 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:23 /devices/wb-msw-v4_1/controls/Temperature 26.29

2026-07-27 22:32:23 /devices/wb-msw-v4_1/controls/Humidity 44.83

2026-07-27 22:32:23 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:24 /devices/wb-gpio/controls/EXT1_IN4 0

2026-07-27 22:32:24 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:24 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Temperature 26.25

2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Humidity 44.8

2026-07-27 22:32:24 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Max Motion 17

2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Max Motion 18

2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 18

2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 17

2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Temperature 26.27

2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Humidity 44.82

2026-07-27 22:32:25 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/Input 1 counter 667

2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:26 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Current Motion 18

2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Current Motion 17

2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Temperature 26.28

2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Humidity 44.79

2026-07-27 22:32:26 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/Input 1 counter 668

2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Temperature 26.27

2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Humidity 44.83

2026-07-27 22:32:27 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:27 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:28 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:28 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:28 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/Input 1 counter 669

2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:28 /devices/wb-msw-v4_1/controls/Humidity 44.73

2026-07-27 22:32:28 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/Input 1 counter 670

2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Temperature 26.28

2026-07-27 22:32:29 /devices/wb-msw-v4_1/controls/Humidity 44.65

2026-07-27 22:32:29 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 18

2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 17

2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Temperature 26.25

2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Humidity 44.56

2026-07-27 22:32:30 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/Input 1 counter 671

2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:31 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Temperature 26.26

2026-07-27 22:32:31 /devices/wb-msw-v4_1/controls/Humidity 44.54

2026-07-27 22:32:32 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/Input 1 counter 672

2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:32 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:32 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:32 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:32 /devices/wb-msw-v4_1/controls/Humidity 44.47

2026-07-27 22:32:32 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/Input 1 counter 673

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Temperature 26.28

2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Humidity 44.49

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/Input 1 counter 674

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:33 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:33 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:34 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:34 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:34 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:34 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:34 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:34 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:34 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/Input 1 counter 675

2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Humidity 44.48

2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:35 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Temperature 26.26

2026-07-27 22:32:35 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:36 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/Input 1 counter 676

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:36 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:36 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:36 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/Input 1 counter 677

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:36 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:36 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:37 /devices/wb-msw-v4_1/controls/Temperature 26.25

2026-07-27 22:32:37 /devices/wb-msw-v4_1/controls/Humidity 44.5

2026-07-27 22:32:37 /devices/wb-msw-v4_1/controls/Current Motion 10

2026-07-27 22:32:37 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/Input 1 counter 678

2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:37 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:37 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Temperature 26.26

2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Humidity 44.52

2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Current Motion 10

2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/Input 1 counter 679

2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:38 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:38 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Temperature 26.27

2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/Input 1 counter 680

2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:39 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:39 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:40 /devices/wb-msw-v4_1/controls/Temperature 26.26

2026-07-27 22:32:40 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:40 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/Input 1 counter 681

2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:40 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:40 /devices/wb-msw-v4_1/controls/Humidity 44.55

2026-07-27 22:32:40 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Max Motion 16

2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/Input 1 counter 682

2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:41 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Temperature 26.27

2026-07-27 22:32:41 /devices/wb-msw-v4_1/controls/Humidity 44.52

2026-07-27 22:32:42 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:42 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/Input 1 counter 683

2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:42 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:42 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:42 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Humidity 44.53

2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Current Motion 17

2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/Input 1 counter 684

2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/K1/on 1

2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Max Motion 17

2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/K1 1

2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:43 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Temperature 26.25

2026-07-27 22:32:43 /devices/wb-msw-v4_1/controls/Humidity 44.55

2026-07-27 22:32:44 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/Input 1 1

2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/Input 1 counter 685

2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/K1/on 0

2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/K1 0

2026-07-27 22:32:44 /devices/wb-mr6c_118/controls/Input 1 0

2026-07-27 22:32:44 /devices/wb-msw-v4_1/controls/Current Motion 13

2026-07-27 22:32:44 /devices/wb-msw-v4_1/controls/Current Motion 12

2026-07-27 22:32:44 /devices/wb-msw-v4_1/controls/Current Motion 11

2026-07-27 22:32:44 /devices/wb-msw-v4_1/controls/Current Motion 14

2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Humidity 44.56

2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Max Motion 19

2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 19

2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 18

2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 17

2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 16

2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 15

2026-07-27 22:32:45 /devices/wb-msw-v4_1/controls/Current Motion 17

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Humidity 44.57

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 27

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 34

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 34

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 43

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 43

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 45

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 47

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 47

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 45

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 44

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 60

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 69

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 69

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 87

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 87

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Humidity 44.58

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Current Motion 92

2026-07-27 22:32:46 /devices/wb-msw-v4_1/controls/Max Motion 92

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 93

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 91

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Max Motion 93

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 88

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 85

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 81

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 79

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 78

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 76

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 74

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 73

2026-07-27 22:32:47 /devices/wb-msw-v4_1/controls/Current Motion 70

2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Temperature 26.27

2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Humidity 44.59

2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 68

2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 66

2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 63

2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 60

2026-07-27 22:32:48 /devices/wb-gpio/controls/EXT1_IN4 1

2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 58

2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 55

2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 53

2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 50

2026-07-27 22:32:48 /devices/wb-msw-v4_1/controls/Current Motion 48

2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 46

2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Temperature 26.25

2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 44

2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 43

2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 41

2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 40

2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 38

2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 36

2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 35

2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Current Motion 33

2026-07-27 22:32:49 /devices/wb-msw-v4_1/controls/Humidity 44.6

2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 32

2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 30

2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 29

2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 28

2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 27

2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 26

2026-07-27 22:32:50 /devices/wb-msw-v4_1/controls/Current Motion 25